## Sample Information
Submitted by: | Gina Nichols
Submitted on: | 2013-01-31
Date results expected: | next week
| Special Notes: | Please provide your answers below
| Type of matrix? Is there anything special in the matrix (i.e. Triton, PEG, etc etc) | no
| Keep samples stored @ 4C, -20C, or - 70C when finished? | neg 70ºC
| Do you require chromatogram overlays, raw data? | the usual, please
| Please provide spent media containing no PA2024 for standard curve's and biosensor blocking. | n/a
| What are the theorized concentrations of your samples? Rough estimate of concentraitons needed to dilute samples within assay's working range (ForteBio only). | 0-40 mg/L
| What type of information are you looking for? (i.e. basic concentration, precision, etc etc) | basic concentration
| Anything else we should know about the samples? | Fortebio and IMAC-SEC please

## Sample Plate
Sample ID | Sample Description | ForteBio | IMAC-SEC | Test 3 | Comments
A1 | 012513-EZ2 40 hpi
A2 | 012513-EZ3 40 hpi
A3 | 012513-EZ4 40 hpi
A4 | 012513-EZ5 40 hpi
A5 | 012513-EZ7 40 hpi
A6 | 012513-A1 40 hpi
A7 | 012513-A2 40 hpi
A8 | 012513-A3 40 hpi
A9 | 012513-A4 40 hpi
A10 | 012513-B1 40 hpi
A11 | 012513-B2 40 hpi
A12 | 012513-EZ2 56 hpi
B1 | 012513-EZ3 56 hpi
B2 | 012513-EZ4 56 hpi
B3 | 012513-EZ5 56 hpi
B4 | 012513-EZ7 56 hpi
B5 | 012513-A1 56 hpi
B6 | 012513-A2 56 hpi
B7 | 012513-A3 56 hpi
B8 | 012513-A4 56 hpi
B9 | 012513-B1 56 hpi
B10 | 012513-B2 56 hpi
B11 | 012513-EZ2 60 hpi
B12 | 012513-EZ3 60 hpi
C1 | 012513-EZ4 60 hpi
C2 | 012513-EZ5 60 hpi
C3 | 012513-EZ7 60 hpi
C4 | 012513-A1 60 hpi
C5 | 012513-A2 60 hpi
C6 | 012513-A3 60 hpi
C7 | 012513-A4 60 hpi
C8 | 012513-B1 60 hpi
C9 | 012513-B2 60 hpi
C10 | 012513-EZ2 64 hpi
C11 | 012513-EZ3 64 hpi
C12 | 012513-EZ4 64 hpi
D1 | 012513-EZ5 64 hpi
D2 | 012513-EZ7 64 hpi
D3 | 012513-A1 64 hpi
D4 | 012513-A2 64 hpi
D5 | 012513-A3 64 hpi
D6 | 012513-A4 64 hpi
D7 | 012513-B1 64 hpi
D8 | 012513-B2 64 hpi
D9 | 012513-EZ2 66 hpi
D10 | 012513-EZ3 66 hpi
D11 | 012513-EZ4 66 hpi
D12 | 012513-EZ5 66 hpi
E1 | 012513-EZ7 66 hpi
E2 | 012513-A1 66 hpi
E3 | 012513-A2 66 hpi
E4 | 012513-A3 66 hpi
E5 | 012513-A4 66 hpi
E6 | 012513-B1 66 hpi
E7 | 012513-B2 66 hpi
E8 | 012513-EZ2 68 hpi
E9 | 012513-EZ3 68 hpi
E10 | 012513-EZ4 68 hpi
E11 | 012513-EZ5 68 hpi
E12 | 012513-EZ7 68 hpi
F1 | 012513-A1 68 hpi
F2 | 012513-A2 68 hpi
F3 | 012513-A3 68 hpi
F4 | 012513-A4 68 hpi
F5 | 012513-B1 68 hpi
F6 | 012513-B2 68 hpi
F7 | 012513-EZ2 70 hpi
F8 | 012513-EZ4 70 hpi
F9 | 012513-EZ5 70 hpi
F10 | 012513-EZ7 70 hpi
F11 | 012513-A1 70 hpi
F12 | 012513-A2 70 hpi
G1 | 012513-A3 70 hpi
G2 | 012513-A4 70 hpi
G3 | 012513-B1 70 hpi
G4 | 012513-B2 70 hpi
G5 | 012513-EZ2 85 hpi
G6 | 012513-EZ4 85 hpi
G7 | 012513-EZ5 85 hpi
G8 | 012513-EZ7 85 hpi
G9 | 012513-A1 85 hpi
G10 | 012513-A2 85 hpi
G11 | 012513-A3 85 hpi
G12 | 012513-B1 85 hpi
H1 | 012513-EZ2 88 hpi
H2 | 012513-A1 88 hpi
H3 | 012513-EZ2 109 hpi
H4
H5
H6
H7
H8
H9
H10
H11
H12